Nitowrap EP (CF)

Section A : General Comments

High temperature working

It is suggested that, for temperatures above 35°C, the following guidelines are adopted as good working practice:

(i)	Store unmixed materials in a cool (preferably temperature controlled) environment, avoiding exposure to direct sunlight.

(ii)	Keep equipment cool, arranging shade protection if necessary. It is especially important to keep cool those surfaces of the equipment, which will come into direct contact with the material itself.

(iii)	Try to avoid application during the hottest times of the day, arrange temporary shading as necessary.

(iv)	Make sufficient material, plant and labor available to ensure that application is a continuous process.

(v)	Where mixing water is required in the application of a product, it is advised to maintain such water at a maximum of 200C

Equipment

It is suggested that the following list of equipment is adopted as a minimum requirement

Protective clothing	:	Protective overalls

:	Good quality gloves, goggles and face mask

Preparation equipment	:	Wire brush

:	Proprietary blasting equipment

:	Proprietary Degreaser

Application equipment	:	Standard Injection equipment with closed container

Application - points of note

FOSROC operates a policy to encourage the use, where possible, of registered applicators, since the long-term performance of the materials is dependent upon proper application.

Section B : Application Method

1.0	Surface preparation

Attention to full and proper preparation of the substrate is essential for complete repair adhesion.

1.1	Clean the surface and remove all traces of dust, oil, paint, curing compounds, grease, corrosion deposits, algae, grout holes, protrusions or any unsound material.

1.2	The surface should be preferably prepared by using high pressure water jetting or light abrasive blasting, followed by thorough washing to remove dust and remaining particles. Corrosion induced damages shall be repaired with Renderoc range of mortars and Galvashield XP shall be installed wherever necessary.

1.3	Oil and grease deposits are best removed by steam cleaning, detergent scrubbing or the use of a proprietary degreaser. The effectiveness of decontamination should then be assessed by a pull-off test.

2.0	Mixing

2.1	The hardener and the base shall be emptied in to a suitable container and the material are thoroughly mixed for at least 3 minutes.

2.2	Mechanical mixing using a heavy-duty slow speed (300-500mm) flameproof drill, fitted with a mixing paddle is recommended.

2.3	Mix only sufficient material that can be used within the pot life of the material. (Refer to technical Data Sheet)

3.0	Application

- Any damages to the concrete shall reinstated by using epoxy mortar Nitomortar S.

- Priming: The surfaces treated shall be provided with solvent free epoxy primer, Nitowrap 30.

##### Treatment to blowholes and imperfections: The blowholes and imperfections shall be sealed with epoxy putty, Nitocote VF /Nitomortar FC.

##### Application of saturant: The solvent free epoxy saturant Nitowrap 410 is applied over the sealer coat / primer after it has become tack free at 250 microns wet film thickness.

- Fiber application for 1st coat: The Carbon fabric Nitowrap EP (CF) cut to the required size is spread over the saturant and pressed uniformly either using a spatula or a surface roller. Removal of air bubbles is to be ensured. Bonding of fiber to the substrate is most essential. The fibers shall be unidirectionally placed so that air bubbles are not entrapped. The fibers shall be wrapped around the substrate such that the direction of fibers is perpendicular to the longitudinal axis. Overlaps of 200 mm shall be provided.

- Application of 2nd coat of saturant: The second coat of saturant shall be applied over the dried surface. The thickness shall be 250 microns wet film thickness. The system shall be allowed for air curing for a period of 7 days.

- UV Protective Coat: In case the substrate is in the exterior and exposed to UV a protective coat of Nitowrap 512 may be provided.

4.0	Cleaning

4.1	Nitowrap 30 and Nitowrap 410 should be removed from tools with Nitoflor Sol, immediately after use.

Section C : Approval and variations

This method statement is offered by FOSROC as a ‘standard proposal’ for the application of Nitowrap EP (CF).  It remains the responsibility of the Customer to determine the correct method for any given application.  Where alternative methods are to be used, these must be submitted to FOSROC for comment, in writing, prior to the commencement of any work.